## Slide 1: Cover Page
Problem Statement/Concept Title
IoT-Based Incubator Temperature Controller for Safe Neonatal Care
Theme
Healthcare – Smart, Affordable Neonatal Care
Team Name (Registered on portal)
Incubator Temperature Controller
Team ID (Registered on portal)
[Enter team ID]
State/UT
Tamil Nadu
@HSC submission- Template
1

## Slide 2: Problem – Proposed Solution
Incubator Temperature controller
Core problem
Neonatal incubators lack stability, real-time monitoring and affordability, putting premature babies in low-resource hospitals at risk.
Impact
Infants face health risks; parents endure stress
Nurses struggle with manual monitoring
Hospitals lack affordable, advanced incubators
Detailed explanation of the proposed solution
IoT controller with temperature & humidity sensors
Accelerometer detects abnormal movement
PID control auto-regulates conditions
UV sterilization keeps the chamber hygienic
Web interface, mobile alerts & data logging
How does it address the problem
Instability → PID keeps conditions steady
No live monitoring → IoT dashboard & instant alerts
Infection risk → UV sterilization
High cost → low-cost, scalable unit (₹50,000)
Innovation and uniqueness of the solution
IoT + real-time monitoring in one unit
Automated temperature & humidity regulation
Motion detection with caregiver alerts
Built-in UV sterilization
Remote access for hospitals, clinics & home care
@HSC submission- Template
2

## Slide 3: Technical Approach
Incubator temperature controller
Methodology and process for implementation
Start
Choose auto / manual trigger
Choose alert channel (PC / mobile)
Newborn in incubator? Yes → Alarm
Calibrate temperature & humidity loops
Test incubator; if fail, repair & retest
End
Technologies to be used
Sensing: temperature, humidity, pressure, accelerometer, UV-C
Control: microcontroller + PID algorithm
Connectivity: IoT, web interface, email / SMS alerts
Validation: simulation of sensor data & control response
Prototype scope
Included
Temperature sensing, automatic control, setpoint adjustment, alarm alerts, display interface
Excluded (future steps)
Humidity control, baby-movement monitoring, remote access, data logging, analytics, hospital-network / EMR integration
GitHub / Gitlab link
[Add repository link]
Demo Video
[Add video link]
Extent of usage of AI tools
[Describe AI tools used]
@HSC submission- Template
3

## Slide 4: Impact Potential
Incubator temperature controller
Potential impact on the target audience
Premature & ill infants: safe, stable environment
Parents: less stress, reassurance
Nurses: less manual monitoring, quick alerts
Hospitals: affordable, advanced incubators
Benefits of the solution
Functional: safer infants, real-time alerts, UV hygiene
Emotional: peace of mind, confidence in care
Social: better care quality, community & home-care access
Economic: affordable unit, ₹24 Cr obtainable market
Stakeholders
Newborns & parents
Nurses, doctors & medical staff
Hospitals, clinics & home-care providers
Communities with limited neonatal care
Market opportunity
Target: Tier 2/3 & rural areas in UP, Bihar, MP, Rajasthan, Odisha
₹200 Cr
TAM · 50,000 units × ₹40,000
₹24 Cr
SAM · 6,000 units × ₹40,000
₹24 Cr
SOM · 6,000 units × ₹40,000
₹50,000
Price per unit · hardware + SaaS
SDG – Primary
Lower neonatal mortality, universal access to healthcare technology, early-warning systems
SDG – Secondary
Sustainable IoT healthcare infrastructure, energy-efficient incubators, inclusive technology adoption
SDG – Tertiary
Energy optimisation, reusable sterilization to cut waste, stronger technical capacity
@HSC submission- Template
4

## Slide 5: Feasibility and Risk Analysis
Incubator temperature controller
Analysis of the feasibility of the solution
Technical: proven building blocks – microcontroller, sensors, PID control
Prototype: temperature control, setpoint, alarm and display; simulation model built
Market: ₹24 Cr obtainable in 5 high-birth-rate states
Business: hardware sales + SaaS model
Scalable: hospitals, clinics, home care
Potential challenges and risks
Real hardware prototype still pending
Sensor or device failure in critical care
Humidity, motion, remote access and logging outside prototype scope
Medical-grade validation required
Cost pressure in low-resource hospitals
Strategies for overcoming these challenges
Build hardware prototype with integrated sensors and controller
Add redundancy and auto-shutoff
Add cloud dashboard for logging and monitoring; AI/ML for predictive control and failure detection
Scale to medical-grade incubators
Low-cost design; ₹50,000 per unit
@HSC submission- Template
5

## Slide 6: Team
Incubator temperature controller
Team Composition and Roles
Member | Role
[Member 1] | [e.g., Hardware & sensors]
[Member 2] | [e.g., PID control]
[Member 3] | [e.g., IoT & web app]
[Member 4] | [e.g., Research & design]
Challenges
[Challenge 1 faced by the team]
[Challenge 2 faced by the team]
[Challenge 3 faced by the team]
Our journey so far
Participated in IEEE Xtreme
Took part in project-based competitions
Registered on the Yukthi portal
Built a simulation model of the controller
Presented at Sairam SDG Innovathon 4.0
@HSC submission- Template
6

## Slide 7: References
[Team Name]
[1] K. Ogata, Modern Control Engineering, 5th ed. Upper Saddle River, NJ, USA: Prentice Hall, 2010.
[2] A. Bequette, Process Control: Modeling, Design, and Simulation. Upper Saddle River, NJ, USA: Prentice Hall, 2003.
[3] S. M. S. Tanzil and A. K. M. Arifuzzman, “Design and implementation of a smart incubator for bio-medical applications,” Proc. Int. Conf. Electrical, Computer and Communication Engineering (ECCE), Cox’s Bazar, Bangladesh, Feb. 2019, pp. 1–6.
[4] M. R. Islam, T. Hossain, and M. A. Rahman, “Microcontroller based temperature and humidity controlled automatic egg incubator,” Int. J. Computer Applications, vol. 81, no. 5, pp. 35–41, Nov. 2013.
[5] H. F. Rahman, S. Alam, and M. I. H. Bhuiyan, “IoT based smart temperature controller for healthcare and industrial applications,” Proc. IEEE Region 10 Humanitarian Technology Conference (R10-HTC), Dhaka, Bangladesh, Dec. 2017, pp. 722–725.
[6] Market sizing sources: Markets and Markets; Grand View.
@HSC submission- Template
7